**DETAILS NEEED FOR CERTIFICATION.**

|  |  |  |
| --- | --- | --- |
| **INSTALLATION ADDRESS**  *KURULUM ADRESİ* |  | Sümer Mah Karafatma Sokak. No:122 Seyhan/Adana  (building permit number: 113039887/2023) |
| **INSTALLATION SERIAL NUMBER**  *İMALAT SERİ NUMRASI* |  | BLT-241 |
| **INSTALLER RESPONSIBLE PERSON**  *İMALATTAN SORUMLU YETKİLİ* |  | NAİLE BULUT |
| **INSTALLER**  *IMALATÇI FİRMA* |  | BULUT ASANSÖRLERİ-NAİLE BULUT |
| **OWNER / USE OF THE BUILDING**  *BiNA SAHİBİNİN İSMİ / BİNA KULLANIM AMACI* |  | MALİYE HAZİNESİ |
| **STANDARDS / INSPECTION SPECIFICATION**  *UYGULANAN YONETMELİKLER VE STANDARTLAR* |  | UNIT VERIFICATION - ANNEX IV/B – MODULE B (EN81-20:2020, EN81-50:2020, ELECTRIC) |
| **INSPECTOR/DATE/v**  *DENETCİ VE DENETIM TARIHI* |  | Halil Dündar 23.05.2025 |

|  |  |  |
| --- | --- | --- |
| **LIFT DESCRIPTION** | | |
| **GENERAL / MACHINE ROOM POSITION**  *MAKİNE TÜRÜ / MAKİNE KONUMU* |  | ELECTRIC / FOR PERSONS / ROOF(UP) |
| **STOPS / TRAVEL / CAR SPEED**  *DURAK SAYISI / TOPLAM MESAFE/ KABİN HIZI* |  | 5 STOPS (5 FLOOR(S)) / 18000 mm / 1.0 m/s |
| **NUMBER OF PERSONS / LOAD**  *TOPLAM KİŞİ SAYISI / TOPLAM YÜK* |  | 10 pers / 800 kg |
| **SUSPENSION**  *SÜSPANSİYON* |  | 2:1 ROPES 7 x φ6.5mm |
| **DOORS**  *KAPILAR* |  | CAR: 1290 x 1510 2 ENTRANCE / AUTOMATIC -  LANDING: 1000m x 2100m AUTOMATIC |
| **DOOR LOCKING DEVICE**  *KABİN KİLİTLEME EKİPMANI* |  | MERİH, KLT 003 |
| **MACHINE / PULLEY**  *MAKİNE / MAKARALAR* |  | SICOR SINGLE SPEED RTW 150 6 rpm 6kW s/n: 337016/1 / Φ240mm |
| **SAFETY GEAR**  *GÜVENLİK EKIPMANLARI* |  | CAR ASCENT: ZORLU Z-07 PROGRESSIVE SINGLE (ASCENT) s/n: 22-1568  CAR DESCENT: ASCENDING MOVEMENT PROTECTION DEVICE  COUNTERWEIGHT: WITHOUT s/n: - |
| **OVERSPEED GOVERNOR**  *HIZ REGÜLATÖRÜ* |  | ASPAR OSG B tripping speed:2.62m/s m/sec s/n: 79328 |
| **GUIDE RAILS**  *KLAVUZ RAYLAR* |  | CAR: 2 x T90/B 90x75x16mm  COUNTERWEIGHT: 2x T50/B 50x50x5mm |
| **BUFFERS**  *TAMPONLAR* |  | CAR: ABT 1x EYL-16580 s/n: -  COUNTERWEIGHT: : ABT 1x EYL-16580 s/n: - |
| **CONTROLLER**  *ANA KONTROL ÜNİTESİ* |  | ARKEL ARCUBE s/n: 22016630134 |
| **EU-TYPE EXAMINATION CERTIFICATE / BODY (ONLY FOR ANNEX V)**  *AB TİPİ MUAYENE SERTİFİKASI / KURULUŞU*  *(SADECE EK V İÇİN)* |  | N/A |

|  |  |  |
| --- | --- | --- |
| **MANUFACTUTER ADDRESS**  *IMALATCI FIRMA ADRESI* |  | YEŞİLYURT MAHALLESİ 70613 SOKAĞI NO:2 C-A BLOK 2.GİRİŞ SEYHAN/ADANA |
| **RESPNSIBLE PERSON FOR MANUFACTURER**  *IMALATCI SORUMLU KISI* |  | NAİLE BULUT |